## Slide 1
power went off at
12 Mar 9:23 AM
generator goes on in
1 hr 12 min 15 sec
generator start/stop
menu
generator
utility
7.9”
4.7”

## Slide 2
generator start/stop
menu
generator
utility
for web page
at
home

## Slide 3
for aluminum box
start stop
menu
generator
utility
WiFi
at
home

## Slide 4
start stop
menu
generator
utility
start stop
menu
generator
utility
WiFi
WiFi
at
home
at
home
Generator control
Generator control

## Slide 5
power went off at
12 Mar 2019 9:23 AM
generator goes on in
1 hr 12 min 15 sec
event log
#12: 12 Mar 9:23 AM power failed
power went off at
12 Mar 9:23 AM generator starting
Saw Mill Lodge
230 VAC, 54/33 A
power went off at
12 Mar 9:23 AM
connecting generator
set parameter:
gen start delay
120 mins
set time and date
12 Mar 9:32 AM
start generator?
press
“Generator start”
to confirm
12 Mar 2019 9:23 AM
230 VAC, 54/33 A

## Slide 6
generator running
238 VAC, 54/33 A
will go off in
23 min 12 sec
generator running
238 VAC, 54/33 A
2 hr 39 min 44 sec
generator running
238 VAC, 54/33 A
2 hr 39 min 44 sec
util in 2 min 15 sec